## Swimming
Section Ref |  | Infectious diseases |  |  |  |  | Company logo
Assessment Type |  | Specific hazard
Assessment Title |  | Covid-19 - Swimming
Documents used in support of this assessment |  | HMG Guidance; WHO Guidance, HSENI Model, Swim England June 2020 Guidance
People at risk |  | Staff, members, non-member customers, contractors, other facility visitors
Task |  | Disease control measures
Name of Centre/Facility |  | Wave Organisation
Ref | Hazards Identified | How might people be harmed | Control Measures in Place | PLR | PSR | RRN | Further controls measures (risk reduction action plan) | PLR | PSR | RRN
Swimming
CV-SW/001 | Transmission of COVID-19 to pool users and staff | Failure to maintain appropriate levels of pool water disinfection leading to increased potential for the survival of COVID-19 in pool water | Pool water treatment ensures that the free chlorine level is maintained at a minimum of 1.5mg/l and the pH is maintained at between 7.0 and 7.2 | 1 | 3 | 3 |  | 0 | 0 | 0
CV-SW/002 |  | Inadequate air handling in the pool hall increases the potential for airborne survival and transmission of COVID-19 | All air handilng installations have been fully serviced and air changes within the pool hall are at the top end of the required parameters for the size of the hall | 1 | 3 | 3 |  | 0 | 0 | 0
CV-SW/003 |  | Over-crowding and queues at reception compromise distancing criteria | To control numbers of bathers, access to the pool is by pre-booking only | 1 | 3 | 3 |  | 0 | 0 | 0
CV-SW/004 |  | Pinch points in changing areas and at points of access to and egress from the pool basin create increased potetntial for virus transmission | A one way system has been created to permit appropriate levels of social distancing between bathers when they enter and leave the pool area. A system has been created for Swim School parents | 1 | 3 | 3 |  | 0 | 0 | 0
CV-SW/005 |  | Contamination of touch surfaces | Touch surfaces are subject to regular cleaning with disinfecting wipes. Where an access hoist or chair is used, this will be wiped before use. NOTE that the chlorination in the pool water will minimise infection risk as it will provide a degree of disinfection when the chair is in the water | 1 | 3 | 3 |  | 0 | 0 | 0
CV-SW/006 |  | Failure to maintain appropriate social distancing when using the pool. Infection through contamination with airborne droplets where bathers are too close . | The swimming pool is predominantly used for lane and fitness swimming, and Swim School during the week. Aqua Fit classes are due to re-start 17 May. Family Sessions are permitted for single households only. For lane swimming, the pool is configured with double width or single swimming lanes in line with Swim England guidance. For activity classes, a minimum of 6sq.m per bather is provided taking account of depth constraints. The SSFC Teaching Pool will re-open on 12 April | 1 | 3 | 3 | Lifeguards must ensure that the lane configuration is not altered. Lifeguards and trainers must enforce the ocupancy levels for classes. | 0 | 0 | 0
CV-SW/007 |  |  | When lane swimming only takes place, different speed lanes and directions are marked. Lifeguards must reinforce to bathers that they must only swim lengths and follow the swim direction signs | 1 | 3 | 3 | No further action required | 0 | 0 | 0
CV-SW/008 |  |  | Swimmers do not wait unnecessarily at the pool ends, and have been asked to wait on poolside if they are stopping for any period of time. To avoid possible crowding, maximum bather loads have been calculated on the basis of approx 6sq.m per bather to ensure small numbers in each lane. This is in line with Swim England guidance | 1 | 3 | 3 | The maximum number per lane is 10 bathers [based on 25m pool]. Lifeguards MUST ensure this is monitored. | 0 | 0 | 0
CV-SW/009 |  | Failure to maintain distancing in lane swimming | Swimming strokes are restricted to front and back crawl and to breast stroke. Butterfly is not permitted. | 1 | 3 | 3 | Pool staff must ensure that swim strokes are monitored to ensure that distancing is maintained. | 0 | 0 | 0
CV-SW/010 |  |  | If bathers need to change lanes, they must ensure that this is done when there is clear space to complete the move | 1 | 3 | 3 | Lifeguards MUST ensure this is monitored. | 0 | 0 | 0
CV-SW/011 |  |  | Lane swimming bathers enter and leave the pool at the deep end. Signs indicate entry and exit points | 1 | 3 | 3 | Lifeguards MUST ensure this is monitored and that signs remain in place | 0 | 0 | 0
CV-SW/012 |  | Contamination of touch surfaces | Poolside seating and loungers are not used. Lifeguards and staff monitor this; where members try and use these, they will be asked, politely, to leave the area | 1 | 3 | 3 | Pool staff must ensure that signs are clearly displayed. | 0 | 0 | 0
Assessment by: Fred Furner
Date: 1.9.20
Re-assessment by: Fred Furner
Date: 2.12.20
Re-assessment by: Fred Furner
Date: 9.4.21
Note on A2: Area, Activity, Tasks, Specific hazards,
Note on A4: Area, Activity, Tasks, Specific hazards,
Note on A8: Record any legislation, guidance and industry guidance used in research for this assessment
Note on A10: Recorded the people mostly effected e.g. Children.
Note on A12: Complete a risk assessment for each significant working at height task
Note on C16: Insert most probable injuries from the hazard
Note on E16: Probable Likelihood Rating (1-6)
Note on F16: Probable Severity Rating (1-6)
Note on G16: Risk Rating (1-36) acceptable levels of risk if industry practice applied.
Note on H16: Action required to achieve industry practice
Note on I16: Likelihood reduced by further control measures
Note on J16: Severity reduced by further control measures
Note on K16: Remaining or residual risk once an acceptable level has been achieved